## Slide 1: Paradigm shift on bifurcation treatment by contemporary DES : overcoming limitation on technique & lesion
HS(Hyo-Soo) Kim, MD/PhD/FAHA
Cardiovascular Center,
SNU(Seoul National University) Hospital, Seoul, Korea
SNU-H (Seoul National University Hospital)

## Slide 2
Limitation of Bifurcation Stenting with OLD DES
1-stent cross-over at LM bifurcation
PCI to LM-LAD with Cypher 3.5X18
Follow-up CAG : patent stent
SNU-H (Seoul National University Hospital)

## Slide 3
Limitation of Bifurcation Stenting with OLD DES
2-stent technique at LM bifurcation
2-stenting with Crush/FKB at LM bifurcation (Cypher)
Follow-up CAG : Restenosis
SNU-H (Seoul National University Hospital)

## Slide 4
Two Limitations in Bifurcation PCI with OLD DES (1) Technique – 1-stent vs. 2-stent
Maeng et al. J Am Coll Cardiol. 2013
NORDIC-I 5-YR outcome (Cypher Select)
Systemic 2-stenting results in Worse Outcome in Coronary Bifurcation Lesions
SNU-H (Seoul National University Hospital)

## Slide 5
Two Limitations in Bifurcation PCI with OLD DES (1) Technique – 1-stent vs. 2-stent
BRITISH Bifurcation Trial – BBC ONE (Taxus)
All death, MI, TVF
MI
TVF
Simple Group : 1-stent crossover ± provisional T-stenting at side branch
Complex Group : Elective 2-stent technique (Crush or Cullotte)
Systemic 2-stenting results in Worse Outcome in Coronary Bifurcation Lesions
Hildick-Smith et al., Circulation, 2010
SNU-H (Seoul National University Hospital)

## Slide 6
Two Limitations in Bifurcation PCI with OLD DES (1) Technique – 1-stent vs. 2-stent
Zimarino et al. J Am Coll Cardiol. 2013
Stent Thrombosis
Myocardial Infarction
SES
SES
SES
SES
PES
SES
SES
SES
SES
PES
Meta-analysis
of 5 RCTs
1-stent crossover is better than
2-stent technique in bifurcation lesions
SNU-H (Seoul National University Hospital)

## Slide 7
Song et al. JACC cardiovasc interv. 2014
Target Lesion Revascularization
Systemic 2-stenting results in Worse Outcome in Left Main Bifurcation Lesions
Two Limitations in Bifurcation PCI with OLD DES (2) Technique & Lesion – 1-stent vs. 2-stent in LM
SNU-H (Seoul National University Hospital)
1-stent
2-stent
1-stent
2-stent
OLD DES

## Slide 8
Song et al. JACC cardiovasc interv. 2014
Cardiac Death or MI
Systemic 2-stenting results in Worse Outcome in Left Main Bifurcation Lesions
Two Limitations in Bifurcation PCI with OLD DES (2) Technique & Lesion – 1-stent vs. 2-stent in LM
SNU-H (Seoul National University Hospital)
1-stent
2-stent
1-stent
2-stent
OLD DES

## Slide 9
Paradigm of
Bifurcation PCI with old DES
Two-stent tech is worse than one-stent.
LM is worse than non-LM bifurcation.
(limitations on tech & lesion)
these limitations applicable to new DES?

## Slide 10: Impact of Stent Design on Bifurcation PCI
Medium diameter | 8 crowns 2 cells | 6 crowns 3 cells | 9 crowns 3 cells | 10 crowns 2 cells | 9 crowns 3 cells | 7 crowns 7 cells
Large diameter | 10 crowns 2 cells | 9 crowns 3 cells | 9 crowns 3 cells | 10 crowns 2 cells | 9 crowns 3 cells | 7 crowns 7 cells
Number of connectors may limit
maximal cell opening for SB intervention.
SNU-H (Seoul National University Hospital)

## Slide 11: Impact of Stent Design on Bifurcation PCI
Strut thickness
No of connectors
Joan et al. JACC CV INT 2011.
Newer DES - Lesser connectors and Thinner strut
 Better procedural outcomes of SB intervention
SNU-H (Seoul National University Hospital)

## Slide 12
Dzavık et al. CCI 2013
SPIRIT-V Bifurcation Sub-study (Xience V)
Side branch treatment with Xience V stent showed comparable outcome with main vessel only treatment
Emerging, but inconclusive evidences in
New DES era (1)
One vs Two stenting for bifurcation
SNU-H (Seoul National University Hospital)
1-stent
2-stent
1-stent
2-stent
Xience V
Xience V

## Slide 13
Performance of newer DES in bifurcation PCI
Insight from COBIS II, EXCELLENT, RESOLTUTE registries
COBIS II
(2003.01~2009.12)
2897 Patients with Bifurcation PCI
Prospectively Enrolled
EXCELLENT
(2008.04~2010.05)
RESOLUTE KOREA (2009.01~2010.06)
1998 Patients with ZES-R implanted
Prospectively Enrolled
3056 Patients with EES implanted
Prospectively Enrolled
2475 Patients with
1st generation DES
919 Patients with Bifurcation Lesion
316 Patients with Bifurcation PCI
(2nd Generation DES)
422 Patients with
2st generation DES
Clinical outcome analysis at 3-year Follow-up
Primary Analysis Endpoint | Stent-oriented composite outcome | Target Lesion Failure (Composite of Cardiac death, Target vessel MI, TLR)
Major Secondary Analysis Endpoint | Patient-oriented composite outcome | Composite of Any death, Any revascularization, Any MI, CVA
Preliminary Analysis
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)

## Slide 14
Patient Profiles (old vs new stent) in COBIS-II
 | 1st Generation DES (n=2475) |  |  | 2nd Generation DES (n=422) |  | 
 | 1-stent (n=1802) | 2-stent (n=673) | P value | 1-stent (n=325) | 2-stent (n=97) | P value
Demographics |  |  |  |  |  | 
Age, years | 62.0 ± 10.2 | 62.5 ± 10.2 | 0.239 | 62.5 ± 10.4 | 62.5 ± 11.4 | 0.998
Age > 65 years | 706 (39.2%) | 281 (41.8%) | 0.244 | 139 (42.8%) | 44 (45.4%) | 0.651
Male | 1303 (72.3%) | 472 (70.1) | 0.285 | 236 (72.6%) | 72 (74.2%) | 0.754
Coexisting Condition |  |  |  |  |  | 
Diabetes Mellitus | 509 (28.2%) | 207 (30.8%) | 0.220 | 102 (31.4%) | 22 (22.7%) | 0.099
Hypertension | 1032 (57.3%) | 388 (57.7%) | 0.864 | 194 (59.7%) | 61 (62.9%) | 0.572
Dyslipidemia | 582 (32.3%) | 209 (31.1%) | 0.555 | 91 (28.0%) | 24 (24.7%) | 0.527
Peripheral vascular disease | 25 (1.4%) | 12 (1.8%) | 0.470 | 2 (0.6%) | 0 (0.0%) | 0.439
Chronic Kidney Disease | 49 (2.7%) | 22 (3.3%) | 0.466 | 10 (3.1%) | 0 (0.0%) | 0.080
Cardiac Risk Factors |  |  |  |  |  | 
Current Smoker | 474 (26.3%) | 154 (22.9%) | 0.082 | 84 (25.8%) | 21 (21.6%) | 0.401
Previous MI | 106 (5.9%) | 55 (8.2%) | 0.040 | 7 (2.2%) | 5 (5.2%) | 0.119
Previous CVA | 121 (6.7%) | 51 (7.6%) | 0.452 | 13 (4.0%) | 4 (4.1%) | 0.957
Previous PCI | 228 (12.7%) | 144 (21.4%) | <0.001 | 33 (10.2%) | 9 (9.3%) | 0.800
Previous CABG | 17 (0.9%) | 11 (1.6%) | 0.148 | 1 (0.3%) | 1 (1.0%) | 0.363
Family history of CAD | 54 (3.0%) | 13 (1.9%) | 0.146 | 12 (3.7%) | 3 (3.1%) | 0.780
LVEF < 50% | 292 (19.6%) | 104 (19.4%) | 0.912 | 50 (17.2%) | 8 (9.6%) | 0.092
Clinical Indication of PCI |  |  | 0.002 |  |  | 0.005
Stable angina | 662 (36.7%) | 222 (33.0%) |  | 110 (33.8%) | 34 (35.1%) | 
Unstable angina | 643 (35.7%) | 292 (43.4%) |  | 103 (31.7%) | 38 (39.2%) | 
Acute myocardial infarction | 456 (18.4%) | 139 (20.7%) |  | 107 (32.9%) | 20 (20.6%) | 
NSTEMI | 232 (12.9%) | 84 (12.5%) |  | 50 (15.4%) | 17 (17.5%) | 
STEMI | 224 (12.4%) | 55 (8.2%) |  | 57 (17.5%) | 3 (3.1%) | 
Silent ischemia | 36 (2.0%) | 17 (2.5%) |  | 4 (1.2%) | 4 (4.1%) | 
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)

## Slide 15
 | 1st Generation DES (n=2475) |  |  | 2nd Generation DES (n=422) |  | 
 | 1-stent (n=1802) | 2-stent (n=673) | P value | 1-stent (n=325) | 2-stent (n=97) | P value
Complexity of CAD |  |  |  |  |  | 
Angiographic disease extent |  |  | <0.001 |  |  | 0.054
1VD | 866 (48.1%) | 221 (32.8%) |  | 146 (44.9%) | 33 (34.0%) | 
2VD | 710 (39.4%) | 322 (47.8%) |  | 139 (42.8%) | 44 (45.4%) | 
3VD | 225 (12.5%) | 130 (19.3%) |  | 40 (12.3%) | 20 (20.6%) | 
Left main disease | 292 (16.2%) | 229 (34.0%) | <0.001 | 87 (26.8%) | 32 (33.0%) | 0.232
Bifurcation at Left Main | 397 (22.0%) | 292 (43.4%) | <0.001 | 112 (34.5%) | 52 (53.6%) | 0.001
No. of stented lesion/patients | 1.33 ± 0.59 | 1.41 ± 0.66 | 0.003 | 1.34 ± 0.58 | 1.59 ± 0.77 | 0.001
No. of used stents | 1.55 ± 0.81 | 2.68 ± 1.02 | <0.001 | 1.62 ± 0.88 | 2.65 ± 0.97 | <0.001
At least 1 ISR | 55 (3.1%) | 44 (6.5%) | <0.001 | 6 (1.8%) | 2 (2.1%) | 0.891
Total occlusion of MV (pre-PCI) | 178 (9.9%) | 41 (6.1%) | 0.003 | 50 (15.4%) | 3 (3.1%) | 0.001
Total occlusion of SB (pre-PCI) | 72 (4.0%) | 30 (4.5%) | 0.607 | 16 (4.9%) | 4 (4.1%) | 0.745
Acute coronary syndrome | 1099 (61.0%) | 431 (64.0%) | 0.164 | 210 (64.6%) | 58 (59.8%) | 0.387
Primary PCI | 227 (12.6%) | 56 (8.3%) | 0.003 | 77 (23.7%) | 7 (7.2%) | <0.001
Maintaining DAPT at last follow-up | 635 (35.2%) | 375 (55.7%) | <0.001 | 161 (49.5%) | 61 (62.9%) | 0.021
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)
Patient Profiles (old vs new stent) in COBIS-II

## Slide 16
Lesion and Procedural Profiles
 | 1st Generation DES (n=2475) |  |  | 2nd Generation DES (n=422) |  | 
 | 1-stent (n=1802) | 2-stent (n=673) | P value | 1-stent (n=325) | 2-stent (n=97) | P value
Vessel involved |  |  | <0.001 |  |  | 0.007
LM bifurcation | 397 (22.0%) | 292 (43.4%) |  | 112 (34.5%) | 52 (53.6%) | 
LAD/Dg | 1040 (57.7%) | 326 (48.4%) |  | 151 (46.5%) | 34 (35.1%) | 
LCX/OM | 264 (14.7%) | 34 (5.1%) |  | 44 (13.5%) | 7 (7.2%) | 
RCA bifurcation | 101 (5.6%) | 21 (3.1%) |  | 18 (5.5%) | 4 (4.1%) | 
Medina classification |  |  | <0.001 |  |  | <0.001
True bifurcation | 798 (44.3%) | 506 (75.2%) |  | 130 (40.0%) | 68 (70.1%) | 
1.1.1 | 496 (27.5%) | 318 (47.3%) |  | 85 (26.2%) | 39 (40.2%) | 
1.0.1 | 139 (7.7%) | 48 (7.1%) |  | 14 (4.3%) | 10 (10.3%) | 
0.1.1 | 163 (9.0%) | 140 (20.8%) |  | 31 (9.5%) | 19 (19.6%) | 
Nontrue bifurcation | 1004 (55.7%) | 167 (24.8%) |  | 195 (60.0%) | 29 (29.9%) | 
1.0.0 | 280 (15.5%) | 15 (2.2%) |  | 50 (15.4%) | 1 (1.0%) | 
0.1.0 | 382 (21.2%) | 38 (5.6%) |  | 78 (24.0%) | 10 (10.3%) | 
1.1.0 | 309 (17.1%) | 54 (8.0%) |  | 59 (18.2%) | 5 (5.2%) | 
0.0.1 | 33 (1.8%) | 60 (8.9%) |  | 8 (2.5%) | 13 (13.4%) | 
Stent type |  |  | <0.001 |  |  | 0.225
SES | 992 (55.0%) | 422 (62.7%) |  | - | - | 
PES | 614 (34.1%) | 208 (30.9%) |  | - | - | 
ZES-Sprinter | 194 (10.8%) | 41 (6.1%) |  | - | - | 
EES | - | - |  | 272 (83.7%) | 76 (78.4%) | 
ZES-Resolute | - | - |  | 53 (16.3%) | 21 (21.6%) | 
Others | 2 (0.1%) | 2 (0.3%) |  | - | - | 
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)

## Slide 17
Lesion and Procedural Profiles
 | 1st Generation DES (n=2475) |  |  | 2nd Generation DES (n=422) |  | 
 | 1-stent (n=1802) | 2-stent (n=673) | P value | 1-stent (n=325) | 2-stent (n=97) | P value
Stenting Techniques |  |  |  |  |  | 
1-stent technique | 1802 (100.0%) | - |  | 325 (100.0%) | - | 
2-stent technique | - | 673 (100.0%) |  | - | 97 (100.0%) | 
T-stenting | - | 245 (36.4%) |  | - | 32 (33.0%) | 
Crush | - | 323 (48.0%) |  | - | 46 (47.4%) | 
Kissing or V stenting | - | 87 (12.9%) |  | - | 10 (10.3%) | 
Culottes | - | 15 (2.2%) |  | - | 7 (7.2%) | 
Others | - | 3 (0.4%) |  | - | 2 (2.1%) | 
Side Branch Stenting Strategy |  |  |  |  |  | 
Provisional 2-stenting | - | 219 (32.5%) |  | - | 29 (29.9%) | 
Elective 2-stenting | - | 454 (67.5%) |  | - | 68 (70.1%) | 
Devices Used |  |  |  |  |  | 
Main vessel |  |  |  |  |  | 
Total stent length, mm | 28.9 ± 12.3 | 29.7 ± 12.4 | 0.136 | 27.0 ± 12.5 | 27.6 ± 13.2 | 0.709
Maximal stent diameter, mm | 3.17 ± 0.40 | 3.25 ± 0.36 | <0.001 | 3.27 ± 0.48 | 3.23 ± 0.44 | 0.499
Side branch |  |  |  |  |  | 
Total stent length, mm | - | 22.3 ± 9.2 |  | - | 20.2 ± 9.2 | 
Maximal stent diameter, mm | - | 2.91 ± 0.37 |  | - | 2.94 ± 0.38 | 
Adjunctive NC ballooning |  |  |  |  |  | 
MV | 378 (21.0%) | 191 (28.4%) | <0.001 | 76 (23.4%) | 20 (20.6%) | 0.568
SB | 137 (7.6%) | 111 (16.5%) | <0.001 | 22 (6.8%) | 11 (11.3%) | 0.141
Procedural Outcomes |  |  |  |  |  | 
MV Final TIMI flow < 3 | 13 (0.7%) | 2 (0.3%) | 0.226 | 2 (0.6%) | 0 (0.0%) | 0.439
SB Final TIMI flow < 3 | 47 (2.6%) | 4 (0.6%) | 0.002 | 12 (3.7%) | 0 (0.0%) | 0.077
Procedural success |  |  |  |  |  | 
MV | 1772 (98.3%) | 669 (99.4%) | 0.042 | 321 (98.8%) | 97 (100.0%) | 0.272
SB | 1208 (67.0%) | 664 (98.7%) | <0.001 | 219 (67.4%) | 96 (99.0%) | <0.001
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)

## Slide 18
 | 1st Generation DES (n=2475) |  |  | 2nd Generation DES (n=422) |  | 
 | 1-stent (n=1802) | 2-stent (n=673) | P value | 1-stent (n=325) | 2-stent (n=97) | P value
Bifurcation angle (°) | 58.8 (45.0-75.8) | 60.6 (46.7-81.0) | 0.032 | 60.1 (46.1-79.8) | 64.0 (43.7-80.5) | 0.873
Pre-intervention |  |  |  |  |  | 
MV RD, mm | 3.0 (2.7-3.3) | 3.0 (2.7-3.4) | 0.097 | 3.1 (2.8-3.5) | 3.1 (2.9-3.5) | 0.771
SB RD, mm | 2.4 (2.3-2.7) | 2.4 (2.3-2.7) | 0.701 | 2.5 (2.3-2.7) | 2.5 (2.3-2.8) | 0.946
MV MLD, mm | 0.9 (0.6-1.3) | 1.0 (0.7-1.4) | 0.001 | 0.9 (0.6-1.4) | 1.1 (0.7-1.5) | 0.004
SB MLD, mm | 1.5 (0.9-1.9) | 1.0 (0.7-1.4) | <0.001 | 1.6 (1.1-2.0) | 1.0 (0.6-1.4) | <0.001
MV diameter stenosis, % | 68.1 (58.7-78.7) | 66.2 (56.4-76.8) | 0.002 | 69.2 (57.9-80.0) | 64.3 (53.2-74.3) | 0.004
SB diameter stenosis, % | 40.7 (22.9-59.1) | 59.4 (46.9-71.5) | <0.001 | 36.0 (17.5-57.0) | 61.7 (47.2-73.3) | <0.001
MV lesion length, mm | 15.8 (10.0-24.4) | 17.4 (10.4-28.5) | 0.009 | 13.2 (8.9-20.8) | 14.7 (6.7-21.9) | 0.407
SB lesion length, mm | 0.0 (0.0-5.2) | 8.3 (4.1-15.4) | <0.001 | 0.0 (0.0-4.7) | 7.5 (3.7-14.8) | <0.001
Post-Intervention |  |  |  |  |  | 
MV RD, mm | 3.0 (2.8-3.3) | 3.1 (2.8-3.5) | 0.046 | 3.2 (2.9-3.5) | 3.2 (2.9-3.4) | 0.675
SB RD, mm | 2.4 (2.3-2.7) | 2.5 (2.3-2.8) | 0.003 | 2.5 (2.3-2.7) | 2.5 (2.3-2.9) | 0.235
MV MLD, mm | 2.6 (2.3-2.9) | 2.7 (2.4-3.0) | 0.298 | 2.7 (2.4-3.0) | 2.8 (2.4-3.1) | 0.733
SB MLD, mm | 1.5 (1.1-2.0) | 2.3 (2.0-2.6) | <0.001 | 1.6 (1.1-2.1) | 2.5 (2.1-2.7) | <0.001
MV residual stenosis, % | 14.2 ± 13.2 | 14.4 ± 11.1 | 0.740 | 13.5 ± 12.7 | 12.5 ± 13.7 | 0.492
SB residual stenosis, % | 39.9 ± 22.9 | 8.2 ± 15.5 | <0.001 | 38.8 ± 24.0 | 6.4 ± 15.7 | <0.001
MV acute gain, mm | 1.7 (1.3-2.1) | 1.6 (1.3-2.0) | 0.007 | 1.7 (1.3-2.2) | 1.5 (1.1-2.0) | 0.003
SB acute gain, mm | -0.03 (-0.29-0.32) | 1.3 (1.0-1.6) | <0.001 | -0.05 (-0.32-0.26) | 1.3 (1.0-1.8) | <0.001
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)
QCA Analysis (old vs new stent) in COBIS-II

## Slide 19
Comparison of 1-stent vs 2-stent techniques for bifurcation
■ No. at Risk
1-Stent | 1802 | 1674 | 1564 | 1415 | 1279 | 1074
2-Stent | 673 | 612 | 552 | 512 | 469 | 394
■ No. at Risk
1-Stent | 325 | 300 | 266 | 229 | 141 | 58
2-Stent | 97 | 89 | 74 | 64 | 32 | 11
TLF in 1st Generation DES
TLF in 2nd Generation DES
HR 2.08 (1.64-2.64), p<0.001
Log rank p<0.001
HR 1.57 (0.64-3.81), p=0.322
Log rank p=0.318
1-stent
1-stent
2-stent
2-stent
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)
Outcomes of old vs new stent (in COBIS-II)

## Slide 20
■ No. at Risk
1-Stent | 1802 | 1656 | 1526 | 1388 | 1250 | 1046
2-Stent | 673 | 600 | 534 | 490 | 449 | 376
■ No. at Risk
1-Stent | 325 | 300 | 263 | 225 | 139 | 56
2-Stent | 97 | 89 | 74 | 64 | 32 | 11
POCE in 1st Generation DES
POCE in 2nd Generation DES
HR 1.62 (1.35-1.93), p<0.001
Log rank p<0.001
HR 1.31 (0.68-2.54), p=0.420
Log rank p=0.419
1-stent
1-stent
2-stent
2-stent
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)
Comparison of 1-stent vs 2-stent techniques for bifurcation
Outcomes of old vs new stent (in COBIS-II)

## Slide 21
Independent Predictors for Target Lesion Failure
 | 1st Generation DES (n=2475) |  |  |  | 2nd Generation DES (n=422) |  | 
 | Adjusted HR | 95% CI | P value |  | Adjusted HR | 95% CI | P value
Previous CABG | 2.308 | 1.013-5.256 | 0.046 | Chronic renal failure | 7.535 | 1.673-33.932 | 0.009
Simultaneous PCI to other lesion | 2.178 | 1.433-3.309 | <0.001 | Left main bifurcation | 6.425 | 2.355-17.535 | <0.001
Chronic renal failure | 2.162 | 1.263-3.699 | 0.005 | Side branch lesion length | 1.063 | 1.024-1.104 | 0.001
Two stenting technique | 1.966 | 1.494-2.588 | <0.001 | Two stenting technique | 0.756 | 0.107-5.372 | 0.780
Left main bifurcation | 1.714 | 1.261-2.329 | 0.001 | Angle between MB-SB | 0.965 | 0.943-0.986 | 0.002
Acute myocardial infarction | 1.569 | 1.186-2.078 | 0.002 | Final kissing balloon | 0.318 | 0.114-0.891 | 0.029
Diabetes mellitus | 1.420 | 1.077-1.872 | 0.013 |  |  |  | 
Reference diameter of main vessel | 0.678 | 0.499-0.920 | 0.013 |  |  |  | 
JM Lee,,, HS Kim. in preparation
SNU-H (Seoul National University Hospital)
Outcomes of old vs new stent (in COBIS-II)

## Slide 22: EES vs SES in COBIS II
YJ Cho,,, HS Kim. in revision
2,897 patients with bifurcation coronary lesion enrolled in COBIS II
326 w EES
122 LM
978 w SES
376 LM
775 PCI with PES
309 PCI with ZES
51 PCI with others
1,762 PCI with EES or SES
348 EES (136 LM PCI)
1,414 SES (433 LM PCI)
1:3 propensity score match
Matching variables: age, gender, diabetes, hypertension, dyslipidemia, smoking, previous PCI, previous AMI, left main disease, multivessel disease, 2-stent PCI, Hb, Cr, true bifurcation, main vessel lesion length/reference diameter, side branch lesion length/reference diameter
SNU-H (Seoul National University Hospital)

## Slide 23: EES vs SES: 2-stent or 1-stent PCI for bifurcation
0
1
2
yrs
0
1
2
yrs
0
10
20
0
SES
No. at Risk
EES
765
257
697
214
617
139
SES
EES
213
69
178
57
151
32
2-stent : MACE
1-stent : MACE
HR [95% CI], 0.23 [0.07 – 0.74]
P = 0.013
HR = 1.30 [0.69 – 2.48]
P = 0.420
10
20
0
1
2
yrs
0
1
2
yrs
0
10
20
0
10
20
SES
No. at Risk
EES
765
257
697
214
617
139
SES
EES
213
69
178
57
151
32
2-stent : TVR
1-stent : TVR
HR = 0.25 [0.08 – 0.80]
P = 0.019
HR = 1.15 [0.56 – 2.36]
P = 0.703
(%)
(%)
(%)
(%)
SES
SES
EES
EES
YJ Cho,,, HS Kim. in revision
Notes: Figure 4. Clinical Outcomes of the Matched Population According to the Stenting Strategy.

## Slide 24: EES vs SES: LM or non-LM PCI
SES
No. at Risk
0
1
2
yrs
0
1
2
yrs
0
10
20
0
10
20
EES
602
204
545
166
479
103
SES
EES
376
122
330
105
289
68
LM : MACE
Non-LM : MACE
HR = 1.04 [0.51 – 2.11]
P = 0.918
HR [95% CI], 0.45 [0.19 – 1.06]
P = 0.067
SES
No. at Risk
0
1
2
yrs
0
1
2
yrs
0
10
20
0
10
20
EES
602
204
545
166
479
103
SES
EES
376
122
330
105
289
68
LM : TVR
Non-LM : TVR
HR = 1.03 [0.49 – 2.18]
P = 0.934
HR = 0.33 [0.12 – 0.93]
P = 0.036
(%)
(%)
(%)
(%)
SES
SES
EES
EES
YJ Cho,,, HS Kim. in revision
Notes: Clinical Outcomes of the patients with left main and non-left main bifurcation lesions among matched Population.

## Slide 25: EES vs SES in COBIS II
EES vs SES
HR 0.80 [95% CI, 0.51 – 1.27]
P = 0.345
EES vs SES
HR 0.39 [95% CI, 0.18 – 0.86]
P = 0.019
EES vs SES
HR 0.11
[95% CI, 0.02 – 0.79]
P = 0.028
Overall Bifurcation
LM bifurcation
LM bifurcation
by 2-stent technique
Difference in performance between EES vs SES for bifurcation lesion becomes greater
when lesion becomes more complex
SNU-H (Seoul National University Hospital)
YJ Cho,,, HS Kim. in revision
SES
EES
SES
SES
EES
EES

## Slide 26
Left main
LAD
LCx
LAD
SES (n=185)
EES (n=39)
SES (n=248)
EES (n=97)
1-stent technique
2-stent technique
SES: 3 (1.2%)
EES: 2 (2.1%)
SES: 4 (1.6%)
EES: 1 (1.0%)
SES: 3 (1.2%)
EES: 1 (1.0%)
Left main
SES: 1 (0.5%)
EES: 0 (0%)
LCx
SES: 23 (12.4%)
EES: 1 (2.6%)
SES: 12 (6.5%)
EES: 1 (2.6%)
Procedural outcome of SB intervention is important in complex bifurcation intervention.
(LM lesion requiring 2-stent technique)
SNU-H (Seoul National University Hospital)
YJ Cho,,, HS Kim. in revision
Sites of TLR : EES vs SES in COBIS II

## Slide 27
Multi-Stent Technique at LM bifurcation
- New DES -
2011/09/21
Triple Kissing stent with Promus element at LM-LAD/LCX/RI
2013/11/06
Follow-up CAG : patent stent
SNU-Hospital (Seoul National University)
SNU-H (Seoul National University Hospital)

## Slide 28: Multi-Stent Technique at LM bifurcation - New DES -
AP Cranial
RAO Caudal
SNU-H (Seoul National University Hospital)

## Slide 29: Multi-Stent Technique at LM bifurcation - New DES -
LAO Caudal
LAO Cranial
SNU-H (Seoul National University Hospital)

## Slide 30: Two guiding catheter engagement to LCA
JL4, 8FR via right femoral artery to LAD & LCX
JL4, 7FR via left femoral artery to R.I.
SNU-H (Seoul National University Hospital)

## Slide 31: Triple Kissing DES Implantation to Trifurcation
LM-LAD: Promus Element 3.5x24 mm
LM-LCX:Promus Element 3.5x20 mm
LM-RI: Promus Element: 3.0x20 mm
SNU-H (Seoul National University Hospital)

## Slide 32: Adjunctive Triple Kissing Ballooning
LM-LAD: MEO-CROSS 3.5x15 mm (3.5 mm)
LM-LCX: Sequent 3.5x15mm (3.5 mm)
LM-RI: TREK 3.0x15mm (3.5 mm)
SNU-H (Seoul National University Hospital)

## Slide 33: Multi-Stent Technique at LM bifurcation - New DES -
SNU-H (Seoul National University Hospital)

## Slide 34: Final Angiography (LAD Caudal)
SNU-H (Seoul National University Hospital)

## Slide 35: 26M Follow-Up CAG
AP Cranial
RAO Caudal
SNU-H (Seoul National University Hospital)

## Slide 36: 26M Follow-Up CAG
LAO Caudal
LAO Cranial
SNU-H (Seoul National University Hospital)

## Slide 37
Conclusions
Bifurcation PCI with new DES
Old DES for bifurcation PCI : limitations on tech & lesion
  Two-stent tech is worse than one-stent
  LM is worse than non-LM bifurcation
New DES for bifurcation PCI : free from limitations
  Two-stent = one-stenting
  LM = non-LM
Superior efficacy and safety of newer generation DES might change the paradigm of bifurcation PCI in terms of technique & lesion.
SNU-H (Seoul National University Hospital)

## Slide 38: Paradigm shift on bifurcation treatment by contemporary DES : overcoming limitation on technique & lesion
Hyo-Soo Kim, MD/PhD/FAHA
Cardiovascular Center,
Seoul National University Hospital, Seoul, Korea

## Slide 39: Paradigm Shift of Bifurcation Intervention Using New Contemporary DES
Hyo-Soo Kim, MD/PhD/FAHA
Cardiovascular Center,
Seoul National University Hospital, Seoul, Korea
.
SNU-H (Seoul National University Hospital)

## Slide 40: Opening of DES era
SNU-H (Seoul National University Hospital)

## Slide 41: Dramatic Reduction of Restenosis
N Engl J Med, 2002; 346 (23)
SNU-H (Seoul National University Hospital)

## Slide 42: However, bifurcation was still challenging
Bifurcation lesions were excluded
SNU-H (Seoul National University Hospital)

## Slide 43: High restenosis rate after bifurcation PCI, even in DES era
RCT for bifurcation PCI
Stent/Stent vs Stent/PTCA (sirolimus-eluting stents)
Circulation. 2004;109:1244-1249
SNU-H (Seoul National University Hospital)

## Slide 44: Restenosis Rate after bifurcation PCI in DES Registry
Am J Cardiol 2004;91:115–118
RESEARCH registry (Sirolimus-eluting stents)
Real world bifurcation restenosis
SNU-H (Seoul National University Hospital)

## Slide 45: Korean Bifurcation Registry
J Am Coll Cardiol 2010;55:1743–50
Korea COBIS (Coronary Bifurcation Stenting) I registry
Comparisons between SES and PES
Propensity-score matched population
MACE
TLR
SNU-H (Seoul National University Hospital)

## Slide 46: 1st generation DES - COBIS subgroup
J Am Coll Cardiol 2010;55:1743–50
Between the 2 most popular 1st generation DES, SES was superior to PES for bifurcation intervention
SNU-H (Seoul National University Hospital)

## Slide 47: 2nd generation DES
SPIRIT IV study
Better outcomes with EES (everolimus-eluting stent) than with PES
Target Lesion Failure
Ischemia-Driven TLR
n engl j med 362;18 may 6, 2010
SNU-H (Seoul National University Hospital)

## Slide 48: 1st vs 2nd generation DES (1)
COMPARE study
  Single center RCT: EES vs PES (n = 1800)
  Better outcome with EES
MACE
Lancet 2010; 375: 201–09
TVR
PES
PES
EES
EES
SNU-H (Seoul National University Hospital)

## Slide 49: 1st vs 2nd generation DES (2)
SORT OUT IV study
  Single center RCT, EES vs SES: non-inferiority study (N = 2,774)
  Bifurcation lesion 12.5% included
MACE
Jensen et al. JACC 2012.
TLR
SES 3.5%
EES 2.9%
HR 0.81 (0.53-1.23)
SES 8.7%
EES 8.3%
HR 0.94 (0.73-1.22)
SNU-H (Seoul National University Hospital)

## Slide 50: 1st vs 2nd generation DES (3)
EXCELLENT RCT (Efficacy of Xience/Promus Versus Cypher to Reduce Late Loss After Stenting)
  Multicenter RCT, EES vs SES (3:1) (n=1443)
Target Lesion Failure
KW Park et al. JACC 2011.
SNU-H (Seoul National University Hospital)

## Slide 51: EES vs SES: meta-analysis
Meta-analysis of 11 RCTs (12,869 patients)
  BASKET-PROVE, ESSENCE-DIABETES, EXCELLENT, ISAR-TEST 4, SORT OUT IV, SEA-SIDE, LONG-DES III, RESET, X-AMI, APPENDIX-AMI
KW Park et al. Am Heart J 2013.
Favors EES over SES
Repeat Revascularization
SNU-H (Seoul National University Hospital)

## Slide 52: However, limited data for Complex Lesions
SPIRIT IV RCT
  Bifurcation lesion – less than 10%
  Left main lesion - excluded
COMPARE study
  Bifurcation lesion – 17%
  Left main lesion – 2%
SORT OUT IV study
  Bifurcation lesion – 12.5%
  Left main lesion – 2%
EXCELLENT RCT
  Bifurcation lesion – 10.8%
  Left main lesion - excluded
SNU-H (Seoul National University Hospital)

## Slide 53: RCT for bifurcation: EES vs SES
Burzotta et al. JACC CV INT 2011
Target Bifurcation Failure
SEA-SIDE study (n = 150)
  Only provisional TAP strategy was used
  LM lesion 17%
SNU-H (Seoul National University Hospital)

## Slide 54: RCT for bifurcation: EES vs SES
Pan et al. CCI 2013.
SES 145, EES 148 patients – 1 year f/u
  Only provisional SB intervention
  LM lesion - 10%
SNU-H (Seoul National University Hospital)

## Slide 55: LM bifurcation: EES vs PES
Valenti et al. JACC 2012.
ULMD Florence registry (n = 390)
  EES 166, PES 224 patients
  2-stent PCI: 36%
MACE
SNU-H (Seoul National University Hospital)

## Slide 56: LM bifurcation: EES vs SES (vs CABG)
Kim YH et al. JACC CV INT 2012.
TVR
MACCE
SES
SES
EES
EES
CABG
CABG
PRECOMBAT-2 study
  Non-randomized study, SES (n=327) vs EES (n=334)
SNU-H (Seoul National University Hospital)

## Slide 57: Summary so far…
Overall, newer EES is better than PES and even SES
For bifurcation or LM lesions,
  EES is not inferior to SES
  EES may be better than PES
  The bottom line is lack of conclusive data
SNU-H (Seoul National University Hospital)

## Slide 58: Another consideration - Stenting Technique
Iakovou et al. JACC 2005.
Crush
T-stent
Culotte
SNU-H (Seoul National University Hospital)

## Slide 59: Simple vs Complex Stenting
Circulation. 2006;114:1955-1961.
Clinical Outcomes
Nordic Bifurcation Study – RCT (n = 413)
MV – main vessel stenting only (simple)
MV+SB – main and side branch PCI (complex)
Procedural Outcomes
SNU-H (Seoul National University Hospital)

## Slide 60: Simple vs Complex: British Bifurcation Study
RCT (n=500), 9-months F/U
Circulation. 2010;121:1235-1243.
Mortality+MI+TLF
TLF
SNU-H (Seoul National University Hospital)

## Slide 61: RCTs for bifurcation PCI strategy
Circulation. 2010;121:1235-1243.
Systematic 2-stent technique failed to show better outcomes compared to 1-stent technique.
SNU-H (Seoul National University Hospital)

## Slide 62: Simple vs Complex Korean COBIS II registry
Song et al. JACC CV INT 2014.
Non LM bifurcation
Multicenter Korean bifurcation registry
Non-LM = 2,044, LM = 853 patients
Target Lesion Failure
LM bifurcation
SNU-H (Seoul National University Hospital)

## Slide 63: Simple is better?
DES used in studies for stent technique
  Nordic Study (RCT) – SES
  British Bifurcation study (RCT) – PES
  COBIS II registry – 77.2% used SES or PES
SNU-H (Seoul National University Hospital)

## Slide 64: Unsolved questions..
Would EES and SES be still comparable in complex (bifurcation or LM) coronary lesions?
Would complex stenting technique be better when using contemporary newer DES (EES)?
SNU-H (Seoul National University Hospital)

## Slide 65: EES-bifurcation study
Retrostpective, single-center study (N= 319)
Kherada et al. IJC 2014.
MACE
TVR
SNU-H (Seoul National University Hospital)

## Slide 66
Two Limitation in Bifurcation PCI with OLD DES (2) Technique & Lesion – 1-stent vs. 2-stent in LM
GISE-SICI Survey (Multicenter, Retrospective)
MACE : Death, MI, TLR
Systemic 2-stenting results in Worse Outcome in Left Main Bifurcation Lesions
Palmerini et al. Circulation cardiovasc interv. 2008
SNU-H (Seoul National University Hospital)

## Slide 67
Karrowniet al. J InvasiveCardiol. 2014
1-Stent Crossover is Better than 2-Stent in
Left Main Bifurcation
Two Limitation in Bifurcation PCI with OLD DES (2) Technique – 1-stent vs. 2-stent in LM
SNU-H (Seoul National University Hospital)

## Slide 68
Two Limitation in Bifurcation PCI with OLD DES (3) Lesion – LM vs. Non-LM Bifurcation
Toyofuku et al. JACC cardiovasc interv. 2013
J-Cypher Registry – 5-YR Follow-up Data
Left Main Bifurcation showed worse clinical outcome than Non-LM bifurcation
SNU-H (Seoul National University Hospital)

## Slide 69
Two Limitation in Bifurcation PCI with OLD DES (3) Lesion – LM Bifurcation, PCI vs CABG
Multicenter registry in Korea
CABG showed less risk of TVR than PCI in LM Bifurcation
Chang et al. Heart. 2011
SNU-H (Seoul National University Hospital)

## Slide 70
SJ Park et al. NEJM. 2011
Unprotected Left main with
Two Limitation in Bifurcation PCI with OLD DES (3) Lesion – LM Bifurcation, PCI vs CABG
PRECOMBAT Trial (Sirolimus-eluting stent)
MACCE : Death, MI, TVR, CVA
PCI with 1st generation stent in LM bifurcation showed comparable outcome with CABG at 1-year
SNU-H (Seoul National University Hospital)

## Slide 71
2-Stenting is better than 1-stenting in 2nd generation DES?
NORDIC-BALTIC Bifurcation IV Trial
4.6%
1.8%
p=0.09
Kumsars et al. presented at TCT 2013
SNU-H (Seoul National University Hospital)
Emerging, but inconclusive evidences in
New DES era (2)
One vs Two stenting for bifurcation

## Slide 72
EES Bifurcation study (Retrospective)
Kherada et al. IJC. 2014
Target Vessel Revascularization
2-stenting with 2nd generation DES showed superior outcome than 1-stenting
2-Stenting in 2nd generation DES , better than 1st?
Emerging, but not conclusive evidences in
New DES era (3)
SNU-H (Seoul National University Hospital)

## Slide 73
KG Oldroyd et al. TCT 2014
Emerging, but not conclusive evidences in
New DES era (4)
2-stenting with Biomatrix showed worse outcome than 1-stenting
MACE
Cardiac Death
SNU-H (Seoul National University Hospital)

## Slide 74
Zamani et al. Catheter Cardiovasc Interv. 2011
Meta-analysis of 42 Studies
with
BMS
&
1st Generation DES
Two Limitation in Bifurcation PCI with OLD DES (1) Technique – 1-stent vs. 2-stent
Systemic 2-stenting results in Worse Outcome in Coronary Bifurcation Lesions
SNU-H (Seoul National University Hospital)