## Slide 1
TAVR in 2017
Past, Present and Future
E Murat Tuzcu, MD
Professor of Medicine
Chief Academic Officer
Chief, Cardiovascular Medicine
Cleveland Clinic Abu Dhabi
No financial COI

## Slide 2
Andersen Valve
1992

## Slide 3: Transcatheter Aortic Valve Replacement
April 16, 2002
Dr. Alain Cribier

## Slide 4: Edwards Transcatheter Valve Evolution
Untreated
Equine Tissue
Edwards SAPIEN™
8/07
Treated
Bovine Tissue
Andersen
Pig implant, 5/89
Cribier-Edwards™
FIM, 4/15/02
Sapien XT™
1/10
TFX Treated
Bovine /CC
Untreated
Equine Tissue
Sapien 3™
2013
Bovine/CC Skirt lower 1/3
Notes: 4
4
4

## Slide 5: PARTNER-A: TAVR vs SAVR Mortality, CV Mortality, Hospitalization, Stroke
Smith et al. NEJM 2011

## Slide 6: PARTNER-A: TAVR vs SAVR NHYA, 6 minute walk, KCCQ, AVA
Smith et al. NEJM 2011
Notes: Focusing on endpoints that reflect four dimensions of benefit, it is clear in this graphical representation of similar data that both AVR and TAVR markedly improve valve area and gradient, NYHA Class, KCCQ QOL parameters, and 6MWD.

## Slide 7
The PARTNER 2A Trial NEJM On-line

## Slide 8
1
762
717
708
685
663
652
644
634
612
722
636
624
600
591
573
565
555
537
p (log rank) = 0.04
HR: 0.78 [95% CI: 0.61, 0.99]
16.3%
20.0%
0
0
3
6
9
12
15
18
21
24
0
10
20
30
40
50
15.8%
7.5%
11.7%
4.5%
TF Primary Endpoint (AT) All-Cause Mortality or Disabling Stroke
All-Cause Mortality or Disabling Stroke (%)
TF TAVR
TF Surgery
Months from Procedure
Number at risk:
TF TAVR
TF Surgery

## Slide 9: PARTNER SAPIEN Platforms Device Evolution
Valve Technology | SAPIEN |  | SAPIEN XT |  |  | SAPIEN 3 |  |  | 
Sheath Compatibility |  |  |  |  |  |  |  |  | 
Available Valve Sizes |  |  |  |  |  |  |  |  | 
 | 23 mm | 26 mm |  |  |  | 20 mm | 23 mm | 26 mm | 29 mm
22-24F
16-20F
14-16F
  23mm
  26mm
*First Implant Oct 30, 2012
  29mm*

## Slide 10: Mortality and Stroke: S3i At 30 Days (As Treated Patients)
Chart: 
| S3i
All-Cause | 1.1
Cardiovascular | 0.9
O:E = 0.21
(STS 5.3%)
Chart: 
| S3i
All Stroke | 2.6
Disabling | 1
Mortality
Stroke
%
%

## Slide 11
et al. NEJM 2012:366;1705-15
French TAVI Registry
et al. Heart 2011:97;899-906
Italian TAVI Registry
A Snapshot from the Ongoing Australia-New Zealand Medtronic CoreValve® Registry
Ian T. Meredith
On behalf of the Australia-New Zealand Investigators
et al. JACC 2011:58;2130-8
et al. Heart 2011:97;899-906
TAVR Registries

## Slide 12: TAVR Challenges
Stroke
Aortic regurgitation
Vascular injury / access
Annulus rupture/ Ao dissection
Coronary obstruction
Conduction abnormality
Durability
Appropriate use / Risk creep
Teamwork
Innovation

## Slide 13: TAVR Challenges
Stroke
Aortic regurgitation
Vascular injury / Access
Annulus rupture/ Ao dissection
Coronary obstruction
Conduction abnormality
Durability
Appropriate use / Risk creep
Teamwork
Innovation

## Slide 14: Impact of Experience and “New” TAVR Systems on Vascular Complications
Fearon, ACC 2013; Hayashida, JACC Card Int 2011; 4(8): 851-8;
Nuis, AJC 2011; 107: 1824-29; Toggweiler, JACC 2012; 59(2): 113-8

## Slide 15: Assessment of Vasculature for Access
Adequate size, Moderate calcium, Moderate tortuosity
(IVUS, Stiff wires, “trial”)
Intermediate
Poor
Excellent
Too small
Severe calcification
Severe tortuosity
Large
No calcium
No tortuosity

## Slide 16: Evolution of the Edwards Balloon-Expandable Transcatheter Valves
* Sheath compatibility for a 23 mm valve
2002
Cribier-Edwards
2006
SAPIEN
2009
SAPIEN XT
2013
SAPIEN 3

## Slide 17: TAVR – 2016 Access Alternatives
Direct
aortic
Transsubclavian
Transmediastinal
Transapical
Transfemoral
Iliac-aortic
conduits
Transvenous
(Antegrade)
Transcarotid
Transcaval
Notes: 17
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 18: TAVR Challenges
Stroke
Aortic regurgitation
Vascular injury / Access
Annulus rupture/ Ao dissection
Coronary obstruction
Conduction abnormality
Durability
Appropriate use / Risk creep
Teamwork
Innovation

## Slide 19: PARTNER 5-year FU in Lancet (March, 2015)

## Slide 20: All-Cause Mortality at 5 Years (PARTNER A)
No. at Risk
  HR [95% CI] = 1.04 [0.86, 1.24]
  p (log rank) = 0.76
TAVR | 348 | 262 | 228 | 191 | 154 | 61
SAVR | 351 | 236 | 210 | 174 | 131 | 64
62.4%
67.8%
Error Bars Represent 95% Confidence Limits
Mack ACC 20015

## Slide 21: Mean Gradient & Valve Area (AT)
159 | 86 | 70 | 44 | 31 | 15
163 | 91 | 71 | 46 | 31 | 15
Mean Gradient (mmHg)
Valve Area (cm²)
N =
EOA
Mean Gradient
  Error bars = ± 1 Std Dev
Mack ACC 20015
Notes: 21

## Slide 22: Reduced leaflet motion was observed in all valve types including surgical bioprostheses
Corevalve
Portico
Sapien
Perimount surgical valve
Systole
Diastole

## Slide 23: Who Should Have TAVR?
Operable AS patients
TAVR in 2016
TAVR
Preferred
Extreme
Risk*
Low
Risk
Surgery (AVR)
TAVR ???
“Equipoise”
65-80%
Intermed
Risk
Acceptable
15-25%
High
Risk
TAVR
or
AVR
Acceptable
5-10%
Futile
No
Too
Sick
Inop pts
TAVR
or
AVR
Notes: 23
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 24: TAVR Challenges
Stroke
Aortic regurgitation
Vascular injury / Access
Annulus rupture/ Ao dissection
Coronary obstruction
Conduction abnormality
Durability
Appropriate use / Risk creep
Teamwork
Innovation

## Slide 25
Current and Future TAVR Systems
Sapien 3
Evolut R
Direct Flow
Lotus
Portico
Symetis
Engager
Jena Valve
Centera
Venus A Valve
Shanghai Valve
Trinity
Colibri
Inovare
Thubrikar
Valve Medical
Syntheon Verso
Triskele
BioValve
MyVal
HLT
NVT (Nautilus)
J - Valve
Xeltis
Zurich TEHV

## Slide 26
Atthapan et al. Eurointervention 2011;11:1034-43

## Slide 27
New TAVR Devices
30-Day Mortality
Atthapan et al. Eurointervention 2016;11:1034-43
Meta-analysis of ~20 non-randomized, mostly FIM, industry sponsored studies
5.7% at 30-days

## Slide 28
New TAVR Devices
30-Day Stroke
Atthapan et al. Eurointervention 2016;11:1034-43
Meta-analysis of ~20 non-randomized, mostly FIM, industry sponsored studies
2.4% at 30-days

## Slide 29
New TAVR Devices
Moderate-Severe AR
Meta-analysis of ~20 non-randomized, mostly FIM, industry sponsored studies
3.2% at 30-days

## Slide 30
New TAVR Devices
Pacemaker Rate
Meta-analysis of ~20 non-randomized, mostly FIM, industry sponsored studies
13.5% at 30-days

## Slide 31
The train has left the station, and it ain’t coming back